Westbrook Primary School

BREEAM

Man 9 Publication of Building information ( Web based )

| Basic description of project and building | New 3FE primary school. Central block 2 storeys with single storey wings on either side. | PTEa |
| --- | --- | --- |
| BREEAM rating and score | BREEAM Education 2008 Very Good | WSP |
| Key innovative and low impact design features | Preheating and cooling of fresh air utilising earth tube technology. Electricity generation by means of photovoltaic panels mounted onto the roof. | WSP |
| Basic building cost - £/m2 | £2,309 | P&S |
| Services costs - £/m2 | £589 | P&S |
| External works- £/m2 | £216 | P&S |
| Gross Floor Area | 3916m2 | PTEa |
| Total area of site – Hectares | 1.94 | PTEa |
| Function areas and their size |  |  |
| Area of circulation | 496m2 | PTEa |
| Area of storage | 206m2 | PTEa |
| % area of grounds to be used by community ( where relevant ) | All weather games pitch – 6154m2 Netball pitch – 598m2 | UDLA |
| % area of buildings to be used by community ( where relevant ) | 520m2 16.5% | PTEa |
| Predicted electricity consumption kWh/m2 | 69.46 (Based on Part L2A Modelling) | WSP |
| Predicted fossil fuel consumption kWh/m2 | 9.6 (Based on Part L2A Modelling) | WSP |
| Predicted renewable energy generation kWh/m2 | 1.1 (Based on Part L2A Modelling) | WSP |
| Predicted water use m3/person/year | 3 m3/person/year | WSP |
| % predicted water use provided by rainwater or grey water | N/A | UDLA |
| The steps taken during construction process to reduce environmental impact | Conform to GallifordTry Project Environmental Plan requirements | GTC |
| List of any social or economically sustainable measures achieved / piloted | Preheating and cooling of fresh air utilising earth tube technology. Electricity generation by means of photovoltaic panels mounted onto the roof. | WSP |